## Meta-Information
Project-Name | please insert the name of the project |  | Status-Definition
undefined / not defined yet
Project-ID | please set the name of the project |  | initial revision
draft / request for comment
Building Name | please insert the name of the building here |  | reviewed
Author | please insert the name of the author of this sheet
Status | undefined / not defined yet
Version Number | please insert the version number version number should follow the sematic versioning 2.0 - https://semver.org/ sample: 1.1
Purpose of this sheet | defines the data points as provided by MODBUS controllers
Change History
Version | Author | Changes
<version number as provided in A12> | <name of the author> | <initial data set definition as discussion in meeting xyz>
<version number as provided in A12> | <name of the author> | <major update after first review> new data points added for ….

## Legend
Legend:
Colum Name | Description | Value Range
Modbus Device IP | IP address of the MODBUS device / controller | valid IPv4 or IPv6 address
Port | Port number tzo be used | valid port number
Device name | name of the device | DNS name
Register name | name of the register
Register type | type of the register
Register no | number of the register to be used
Bit no | number of the bit position to be used | integer 0 - 7
Read write mode | use true if values are writable otherwise use false | true or false true means that values can be written/set
DataPointClass | name of a valid data class supported by SBM | for details see SBM data Model Guide
Min value | minimum value, optional, can be empty | integer number
Max value | maximum value, optional, can be empty | integer number
Save history | can be true or false; use true if you charts are requested otherwise use false | true , false
Log on value change | can be true or false; use true of value changes have to be logged | true, false
Signed value | us true of the value is a signed value otherwise false | true , false
Real | use true if the value is a real number otherwise false | true, false
Transformation | use true if the value have to be transformed otherwise false | see SBM documentation for details
Transformation operator | define the operator to be used for transformation | see SBM documentation for details
Transformation value | define the value used for transformation | see SBM documentation for details
Value map | define the value to be mapped | see SBM documentation for details
Context | defines the context of the data point a dada point context can be either a path in the building topology or path in the technic tree in case of the building tree use the prefix "bt://" in case of the technic tree path use the prefix "tt://" separate each path by "/" | Syntax: bt://…/…/… tt://…/../...
Description | short description of the data point

## MODBUS-Datapoints
Name | DataPointClass | ReadWriteMode | MinValue | MaxValue | SaveHistory | LogOnValueChange | MQTT-Topic | MQTT-Retained | Context
Modbus Device IP | Port | Device name | Register name | Register type | Register no | Bit no | Read write mode | DataPointClass | Min value | Max value | Save history | Log on value change | Signed value | Real | Transformation | Transformation operator | Transformation value | Value map | Context | Description
10.100.90.242 | 502 | ModbusDevice | ModbusTestRegister | HOLDING_REGISTER | 1 | -255 | false | Other | 0 | 1 | true | false | false | false | false |  |  | 1=auto | tt://loc2/b1/Modbus/Test | Test
10.100.90.242 | 502 | ModbusDevice | ModbusTestRegister | HOLDING_REGISTER | 3 | -255 | false | Other | 0 | 3 | true | false | false | false | false |  |  | 1=auto | tt://loc2/b1/Modbus/Test2 | Test
10.100.90.242 | 502 | ModbusDevice | ModbusTestRegister | HOLDING_REGISTER | 4 | 1 | false | Other | 0 | 3 | false | false | false | false | false |  |  | 1=auto | bt://loc2/b1/F1/R1 | Test room